## Rack Location
Description:			First Rack			Power					PDU 1	PDU 2
Location:			TBD			Amps	Amps	Amps	Amps		Amps	Amps
Prepared By:			Gary Fowler			0.96	0.96	0	0		0.96	0.96

RU's:		45				Cooling
Voltage:		208				BTU/hr	BTU/hr	BTU/hr	BTU/hr		BTU/hr Total
Devices:		5				682.6	682.6	0	0		1365.2
Occupied:		11.1%
RU #		RU Size	Device Name	Description	Device Type	Power / Supply / 1 / Peak / Watts	Power / Supply / 2 / Peak / Watts	Power / Supply / 3 / Peak / Watts	Power / Supply / 4 / Peak / Watts	OOB / Network / Conns	Out of / Rack / Network / Conns	Sync / Network / Conns	Serial / OOB / Conns					RU Left	Device #
		5				200	200	0	0	0	2	0	1
45		1		Cable Management													1	0
44		1		Patch Panel 48													1	1
43		1		Cable Management													1	2
42		1		Patch Panel 48													1	3
41		1	switchname			200	200				2		1					1	4
40																	-1	5
39																	-1	5
38																	-1	5
37																	-1	5
36																	-1	5
35																	-1	5
34																	-1	5
33																	-1	5
32																	-1	5
31																	-1	5
30																	-1	5
29																	-1	5
28																	-1	5
27																	-1	5
26																	-1	5
25																	-1	5
24																	-1	5
23																	-1	5
22																	-1	5
21																	-1	5
20																	-1	5
19																	-1	5
18																	-1	5
17																	-1	5
16																	-1	5
15																	-1	5
14																	-1	5
13																	-1	5
12																	-1	5
11																	-1	5
10																	-1	5
9																	-1	5
8																	-1	5
7																	-1	5
6																	-1	5
5																	-1	5
4																	-1	5
3																	-1	5
2																	-1	5
1																	-1	5
0																	-1	5
-1																	-1	5
-2																	-1	5
-3																	-1	5
-4																	-1	5
-5																	-1	5
-6																	-1	5
-7																	-1	5
-8																	-1	5
-9																	-1	5
-10																	-1	5
-11																	-1	5
-12																	-1	5
-13																	-1	5
-14																	-1	5